## Read me
IntelliStride - participant sheet
How to use
1 | Participants tab: type age, sex, height, weight and foot size in the yellow cells. BMI and category fill in by themselves.
2 | Readings tab: for each person there are 8 reading slots. Type the values from the shoe or the dashboard into the yellow cells. Acceleration magnitude, angular-velocity magnitude, tilt, sudden change, risk score and risk level calculate automatically.
3 | Summary tab: one line per person (height, weight, BMI, readings logged, peak and mean risk score, highest level). It updates as you fill the other tabs.
4 | Reference tab: the thresholds and points the risk score uses, copied from the dashboard code (fall-risk.js). Change a threshold there and every score follows.

## Participants
Participants
SAMPLE VALUES for demonstration - heights, weights and readings below were not measured on these people.
# | Name | Age (yrs) | Sex | Height (cm) | Weight (kg) | BMI (kg/m2) | BMI category (WHO adult) | Foot size (UK) | Tested on | Notes
1 | Vidula Nijhawan | 20 | Female | 160 | 52 | 20.3125 | Normal | 5 | 30-Sept-2026 | Normal walk
2 | Rishika Gupta | 20 | Female | 163 | 55 | 20.7008 | Normal | 6 | 30-Sept-2026 | Brisk walk with a turn
3 | Vishav Gupta | 21 | Male | 174 | 68 | 22.46 | Normal | 8 | 30-Sept-2026 | Normal walk
4 | Vedant Singh | 21 | Male | 178 | 72 | 22.7244 | Normal | 9 | 30-Sept-2026 | Standing, weight shifting
5 | Daksh Jain | 20 | Male | 172 | 64 | 21.6333 | Normal | 8 | 2026-10-05 | Staged stumble (demo only)
6 | Sudeep | 22 | Male | 176 | 70 | 22.5981 | Normal | 9 | 2026-10-05 | Normal walk
7 | Dhairya | 21 | Male | 170 | 62 | 21.4533 | Normal | 8 | 2026-10-05 | Brisk walk with a turn
8 | Sanjana | 20 | Female | 158 | 50 | 20.0288 | Normal | 5 | 2026-10-05 | Normal walk
9 | Aniket | 21 | Male | 180 | 76 | 23.4568 | Normal | 9 | 2026-10-05 | Seated, resting
10 | Raghav Garg | 21 | Male | 175 | 78 | 25.4694 | Overweight | 9 | 2026-10-09 | Normal walk
11 | Kushal Thakur | 22 | Male | 183 | 82 | 24.4857 | Normal | 10 | 2026-10-09 | Brisk walk with a turn
12 | Manjot Singh | 21 | Male | 177 | 67 | 21.3859 | Normal | 9 | 2026-10-09 | Standing, weight shifting
13 | Tejnoor Singh | 20 | Male | 173 | 60 | 20.0474 | Normal | 8 | 2026-10-09 | Normal walk
14 | Ramit Joshi | 21 | Male | 169 | 58 | 20.3074 | Normal | 7 | 2026-10-11 | Seated, resting
15 | Kirtan Borana | 22 | Male | 171 | 74 | 25.3069 | Overweight | 8 | 2026-10-11 | Normal walk
BMI = weight / height squared; categories are the WHO adult bands (under 18.5, 18.5-24.9, 25-29.9, 30 and over) and do not apply under 18.

## Readings
Readings - 8 slots per person
SAMPLE VALUES for demonstration - heights, weights and readings below were not measured on these people.
Units: FSR raw ADC 0-4095 (uncalibrated) ¦ accel g ¦ gyro deg/s ¦ pitch, roll deg ¦ distance cm. Prototype score, not clinically validated.
Person # | Name | Reading | Time (HH:MM:SS) | Phase | FSR fore-foot | FSR mid-foot | FSR hind-foot | Accel x (g) | Accel y (g) | Accel z (g) | Gyro x (deg/s) | Gyro y (deg/s) | Gyro z (deg/s) | Pitch (deg) | Roll (deg) | Distance (cm) | GPS sats | GPS fix (Y/N) | Accel mag (g) | Gyro mag (deg/s) | Tilt (deg) | Sudden change (g) | Risk score (0-100) | Risk level
1 | Vidula Nijhawan | 1 | 0.41104 | Heel strike | 318 | 435 | 2565 | 0.08 | 0.07 | 1.02 | 3.1 | 0.5 | 2.5 | 3.4 | 1.1 | 203 | 7 | Y | 1.0255 | 4.0137 | 3.5735 | 0 | 0 | LOW
1 | Vidula Nijhawan | 2 | 0.41113 | Foot flat | 980 | 1422 | 2401 | 0.05 | -0.05 | 0.98 | 2.4 | 0.7 | 1.1 | 1.3 | 0.7 | 192 | 7 | Y | 0.98255 | 2.7313 | 1.4765 | 0.042977 | 0 | LOW
1 | Vidula Nijhawan | 3 | 0.4112 | Mid stance | 1693 | 1955 | 1067 | 0.02 | 0.05 | 1.07 | 2 | -0.2 | 0.3 | 0.8 | 0.5 | 198 | 7 | Y | 1.0714 | 2.0322 | 0.9434 | 0.088807 | 0 | LOW
1 | Vidula Nijhawan | 4 | 0.41132 | Toe off | 2571 | 1042 | 290 | -0.11 | 0.08 | 1.11 | 9.7 | 3 | 3.6 | -5.9 | 1.7 | 179 | 7 | Y | 1.1183 | 10.7727 | 6.14 | 0.046948 | 0 | LOW
1 | Vidula Nijhawan | 5 | 0.41138 | Swing | 100 | 67 | 42 | 0.05 | 0.01 | 0.96 | 12.7 | 5.5 | 7.1 | -9.4 | 2.5 | 177 | 6 | Y | 0.96135 | 15.5547 | 9.7268 | 0.15695 | 5 | LOW
1 | Vidula Nijhawan | 6 | 0.41148 | Heel strike | 368 | 429 | 2685 | 0.1 | 0.04 | 1.05 | 4.8 | 2.1 | 1.9 | 3.2 | 1.1 | 252 | 8 | Y | 1.0555 | 5.5731 | 3.3838 | 0.094156 | 0 | LOW
1 | Vidula Nijhawan | 7 | 0.41155 | Foot flat | 971 | 1387 | 2295 | 0.02 | -0.05 | 1.02 | 2.3 | -0.1 | 0.7 | 1.1 | 0.7 | 242 | 6 | Y | 1.0214 | 2.4062 | 1.3038 | 0.034089 | 0 | LOW
1 | Vidula Nijhawan | 8 | 0.41168 | Toe off | 2724 | 1011 | 231 | -0.09 | 0.07 | 1.07 | 10 | 3.1 | 3.5 | -5.8 | 1.8 | 202 | 7 | Y | 1.0761 | 11.039 | 6.0729 | 0.054637 | 0 | LOW
2 | Rishika Gupta | 1 | 0.34916 | Heel strike | 601 | 803 | 3554 | 0.2 | 0.13 | 1.18 | 20.4 | 10.9 | 9.4 | 4.5 | 2.2 | 160 | 8 | Y | 1.2039 | 24.9666 | 5.009 | 0 | 8 | LOW
2 | Rishika Gupta | 2 | 0.34922 | Foot flat | 1622 | 2330 | 2725 | 0.16 | -0.07 | 1.12 | 12.4 | 8.5 | 5 | 2.6 | 1.6 | 144 | 9 | Y | 1.1335 | 15.8433 | 3.0529 | 0.070334 | 0 | LOW
2 | Rishika Gupta | 3 | 0.34928 | Turning | 3337 | 1288 | 444 | -0.32 | 0.18 | 1.3 | 37.3 | 20.6 | 27.1 | 4.7 | 9.6 | 118 | 9 | Y | 1.3509 | 50.4981 | 10.6888 | 0.21732 | 35 | LOW
2 | Rishika Gupta | 4 | 0.34934 | Swing | 129 | 97 | 63 | 0.25 | 0.24 | 1.09 | 22.2 | 9.3 | 15.9 | -7.7 | 3.1 | 147 | 9 | Y | 1.1438 | 28.8468 | 8.3006 | 0.20709 | 13 | LOW
2 | Rishika Gupta | 5 | 0.34942 | Turning | 651 | 735 | 3892 | 0.62 | 0.34 | 1.4 | 40.1 | 21.6 | 37.2 | 6.4 | 8.3 | 93 | 7 | Y | 1.5684 | 58.8082 | 10.4809 | 0.42467 | 65 | MODERATE
2 | Rishika Gupta | 6 | 0.3495 | Foot flat | 1534 | 2230 | 2541 | 0.18 | 0.08 | 1.14 | 9.7 | 7.2 | 5.4 | 3.2 | 1.7 | 148 | 8 | Y | 1.1569 | 13.2322 | 3.6235 | 0.41155 | 15 | LOW
2 | Rishika Gupta | 7 | 0.34954 | Toe off | 3604 | 1369 | 401 | 0.1 | -0.06 | 1.1 | 9.1 | 4.2 | 2.8 | -5.1 | 2.4 | 172 | 9 | Y | 1.1062 | 10.4062 | 5.6365 | 0.050728 | 0 | LOW
2 | Rishika Gupta | 8 | 0.34961 | Heel strike | 611 | 864 | 3312 | 0.32 | 0.17 | 1.21 | 22.8 | 13.6 | 16.1 | 4.5 | 2.8 | 112 | 7 | Y | 1.2631 | 31.0485 | 5.3 | 0.15693 | 20 | LOW
3 | Vishav Gupta | 1 | 0.38403 | Heel strike | 280 | 439 | 2551 | 0.09 | 0.05 | 1.03 | 4.6 | 1.8 | 2.2 | 2.9 | 1.1 | 237 | 7 | Y | 1.0351 | 5.4074 | 3.1016 | 0 | 0 | LOW
3 | Vishav Gupta | 2 | 0.38412 | Foot flat | 971 | 1559 | 2183 | 0.05 | -0.03 | 0.99 | 1.9 | 0.5 | 1.1 | 1.5 | 0.8 | 211 | 8 | Y | 0.99172 | 2.2517 | 1.7 | 0.043417 | 0 | LOW
3 | Vishav Gupta | 3 | 0.38419 | Mid stance | 1905 | 1830 | 1191 | 0.02 | 0.05 | 1.05 | 1.7 | -0.2 | 0.1 | 0.9 | 0.5 | 176 | 8 | Y | 1.0514 | 1.7146 | 1.0296 | 0.059664 | 0 | LOW
3 | Vishav Gupta | 4 | 0.38429 | Toe off | 2893 | 1090 | 272 | -0.13 | 0.07 | 1.11 | 8.3 | 3.4 | 4.2 | -6.1 | 1.9 | 174 | 7 | Y | 1.1198 | 9.904 | 6.3891 | 0.068397 | 0 | LOW
3 | Vishav Gupta | 5 | 0.38438 | Swing | 101 | 58 | 45 | 0.04 | 0.05 | 0.97 | 16.5 | 4.4 | 6.4 | -10.4 | 2.3 | 169 | 7 | Y | 0.97211 | 18.2365 | 10.6513 | 0.14767 | 5 | LOW
3 | Vishav Gupta | 6 | 0.38447 | Heel strike | 311 | 514 | 2699 | 0.09 | 0.06 | 1.04 | 5.3 | 2.1 | 2.4 | 3.5 | 1.2 | 230 | 8 | Y | 1.0456 | 6.1855 | 3.7 | 0.073499 | 0 | LOW
3 | Vishav Gupta | 7 | 0.38453 | Foot flat | 1052 | 1570 | 2202 | 0.01 | -0.01 | 1 | 2.4 | 1.2 | 0.6 | 1.2 | 0.6 | 227 | 7 | Y | 1.0001 | 2.7495 | 1.3416 | 0.04551 | 0 | LOW
3 | Vishav Gupta | 8 | 0.38464 | Toe off | 3128 | 1008 | 239 | -0.1 | 0.05 | 1.08 | 10.4 | 3.5 | 4.6 | -6.8 | 1.8 | 210 | 7 | Y | 1.0858 | 11.8983 | 7.0342 | 0.085672 | 0 | LOW
4 | Vedant Singh | 1 | 0.40971 | Standing | 994 | 820 | 1557 | 0 | 0.02 | 0.98 | 1 | 0.3 | 0.4 | 0.8 | 0.4 | 302 | 3 | N | 0.9802 | 1.118 | 0.89443 | 0 | 0 | LOW
4 | Vedant Singh | 2 | 0.40984 | Standing | 1148 | 969 | 1692 | 0.01 | 0.02 | 0.98 | 0.8 | 1 | 0.5 | 1.1 | 0.7 | 349 | 3 | N | 0.98026 | 1.3748 | 1.3038 | 5.1008e-05 | 0 | LOW
4 | Vedant Singh | 3 | 0.40995 | Standing | 1161 | 953 | 1804 | 0.01 | 0.02 | 1 | 0.3 | 0.5 | 0.4 | 0.8 | 0.3 | 299 | 3 | N | 1.0002 | 0.70711 | 0.8544 | 0.019995 | 0 | LOW
4 | Vedant Singh | 4 | 0.41013 | Weight shift | 1316 | 937 | 1612 | 0.04 | 0.04 | 1 | 2.3 | 1 | 1.2 | 1.8 | 0.9 | 307 | 3 | N | 1.0016 | 2.7803 | 2.0125 | 0.0013488 | 0 | LOW
4 | Vedant Singh | 5 | 0.41024 | Standing | 1270 | 842 | 1740 | 0.01 | 0.04 | 0.98 | 0.2 | 0.7 | 0.1 | 1 | 0.4 | 288 | 3 | N | 0.98087 | 0.73485 | 1.077 | 0.020732 | 0 | LOW
4 | Vedant Singh | 6 | 0.41034 | Weight shift | 1423 | 1098 | 1618 | 0.05 | 0.03 | 0.99 | 2.2 | 1.9 | 1.2 | 1.9 | 1 | 316 | 3 | N | 0.99172 | 3.1448 | 2.1471 | 0.010849 | 0 | LOW
4 | Vedant Singh | 7 | 0.4105 | Standing | 1143 | 799 | 1614 | 0.02 | 0 | 1 | 0.2 | 0.1 | 1 | 0.8 | 0.5 | 324 | 3 | N | 1.0002 | 1.0247 | 0.9434 | 0.0084843 | 0 | LOW
4 | Vedant Singh | 8 | 0.41063 | Standing | 1132 | 884 | 1712 | 0 | 0.03 | 1.02 | 1.4 | 0.3 | 0.5 | 1.1 | 0.4 | 353 | 3 | N | 1.0204 | 1.5166 | 1.1705 | 0.020241 | 0 | LOW
5 | Daksh Jain | 1 | 0.4013 | Walking | 634 | 769 | 3220 | 0.08 | 0.04 | 1.03 | 6 | 3.3 | 4 | 2.8 | 1.1 | 116 | 6 | Y | 1.0339 | 7.9303 | 3.0083 | 0 | 0 | LOW
5 | Daksh Jain | 2 | 0.40137 | Walking | 1487 | 1850 | 2423 | 0.12 | 0.08 | 1.06 | 9.1 | 4.9 | 6 | 3.4 | 1.5 | 102 | 5 | Y | 1.0698 | 11.9507 | 3.7162 | 0.03589 | 0 | LOW
5 | Daksh Jain | 3 | 0.40144 | Trip begins | 4084 | 1221 | 119 | 0.88 | 0.43 | 1.62 | 45.9 | 27.3 | 38.9 | 13.8 | 9.2 | 63 | 5 | Y | 1.8931 | 66.0705 | 16.5855 | 0.8233 | 70 | HIGH
5 | Daksh Jain | 4 | 0.40152 | Stumble peak | 3684 | 2717 | 374 | 1.63 | -0.95 | 2.31 | 90 | 60.6 | 72.9 | 21 | 12 | 39 | 5 | Y | 2.9825 | 130.7164 | 24.1868 | 1.0895 | 100 | HIGH
5 | Daksh Jain | 5 | 0.40155 | Recovery | 2161 | 2450 | 1902 | 0.54 | 0.32 | 1.4 | 30.9 | 18.1 | 22.2 | 8.8 | 6.3 | 40 | 6 | Y | 1.5343 | 42.1338 | 10.8227 | 1.4483 | 65 | MODERATE
5 | Daksh Jain | 6 | 0.4016 | Steadying | 1458 | 1583 | 2136 | 0.14 | 0.07 | 1.13 | 8.1 | 4.9 | 5 | 4.2 | 2.6 | 73 | 7 | Y | 1.1408 | 10.7061 | 4.9396 | 0.39349 | 0 | LOW
5 | Daksh Jain | 7 | 0.40172 | Standing | 1183 | 950 | 1741 | 0 | 0.04 | 1.02 | 1.3 | 0.9 | 0.9 | 1.2 | 0.8 | 158 | 5 | Y | 1.0208 | 1.8193 | 1.4422 | 0.12001 | 0 | LOW
5 | Daksh Jain | 8 | 0.40186 | Standing | 1147 | 904 | 1693 | 0.02 | 0.03 | 0.98 | 0.4 | 0.9 | 0.2 | 0.9 | 0.5 | 161 | 6 | Y | 0.98066 | 1.005 | 1.0296 | 0.040121 | 0 | LOW
6 | Sudeep | 1 | 0.38009 | Heel strike | 343 | 453 | 2575 | 0.07 | 0.06 | 1.04 | 4.8 | 1 | 2.4 | 3.5 | 1.1 | 216 | 6 | Y | 1.0441 | 5.4589 | 3.6688 | 0 | 0 | LOW
6 | Sudeep | 2 | 0.38016 | Foot flat | 1077 | 1567 | 2190 | 0.04 | -0.04 | 1 | 1.1 | 0.6 | 1.5 | 1.2 | 0.8 | 209 | 7 | Y | 1.0016 | 1.9545 | 1.4422 | 0.04248 | 0 | LOW
6 | Sudeep | 3 | 0.38023 | Mid stance | 1832 | 1718 | 1013 | 0.02 | 0.04 | 1.06 | 1.9 | -0.6 | 0.1 | 0.9 | 0.5 | 205 | 7 | Y | 1.0609 | 1.995 | 1.0296 | 0.059344 | 0 | LOW
6 | Sudeep | 4 | 0.38036 | Toe off | 2869 | 1094 | 267 | -0.13 | 0.06 | 1.14 | 9.5 | 3.4 | 4.1 | -6.9 | 2.1 | 178 | 6 | Y | 1.149 | 10.8913 | 7.2125 | 0.088013 | 0 | LOW
6 | Sudeep | 5 | 0.38045 | Swing | 91 | 56 | 38 | 0.06 | 0.01 | 0.96 | 14.7 | 4.6 | 6 | -10.4 | 2.6 | 168 | 7 | Y | 0.96193 | 16.5303 | 10.7201 | 0.18703 | 5 | LOW
6 | Sudeep | 6 | 0.38054 | Heel strike | 346 | 478 | 2958 | 0.12 | 0.06 | 1.04 | 5.3 | 2.1 | 1.9 | 3.5 | 1 | 238 | 6 | Y | 1.0486 | 6.0092 | 3.6401 | 0.086693 | 0 | LOW
6 | Sudeep | 7 | 0.3806 | Foot flat | 980 | 1488 | 2221 | 0.04 | -0.01 | 0.99 | 2.2 | 0.4 | 1.6 | 1.2 | 0.8 | 224 | 8 | Y | 0.99086 | 2.7495 | 1.4422 | 0.05776 | 0 | LOW
6 | Sudeep | 8 | 0.38071 | Toe off | 2675 | 978 | 229 | -0.09 | 0.04 | 1.07 | 10.7 | 4.1 | 3.2 | -7 | 2.2 | 185 | 8 | Y | 1.0745 | 11.8971 | 7.3376 | 0.083665 | 0 | LOW
7 | Dhairya | 1 | 0.3612 | Heel strike | 640 | 815 | 3152 | 0.2 | 0.11 | 1.17 | 17.5 | 11 | 10 | 4.6 | 1.9 | 166 | 9 | Y | 1.1921 | 22.9619 | 4.9769 | 0 | 8 | LOW
7 | Dhairya | 2 | 0.36127 | Foot flat | 1517 | 2367 | 3227 | 0.19 | -0.07 | 1.13 | 12.2 | 8.3 | 6.4 | 2.6 | 1.7 | 141 | 7 | Y | 1.148 | 16.0838 | 3.1064 | 0.044059 | 0 | LOW
7 | Dhairya | 3 | 0.36134 | Turning | 3428 | 1241 | 443 | -0.34 | 0.2 | 1.31 | 30 | 20.9 | 23.4 | 5.7 | 9.5 | 132 | 8 | Y | 1.3681 | 43.4093 | 11.0788 | 0.2201 | 35 | LOW
7 | Dhairya | 4 | 0.3614 | Swing | 130 | 90 | 53 | 0.25 | 0.23 | 1.1 | 18.4 | 10.4 | 17.1 | -7.2 | 3.2 | 169 | 7 | Y | 1.1513 | 27.1869 | 7.8791 | 0.21684 | 8 | LOW
7 | Dhairya | 5 | 0.36152 | Turning | 761 | 813 | 3469 | 0.62 | 0.36 | 1.4 | 36.5 | 18.6 | 34.9 | 5.7 | 8.7 | 88 | 9 | Y | 1.5729 | 53.8165 | 10.401 | 0.42164 | 65 | MODERATE
7 | Dhairya | 6 | 0.3616 | Foot flat | 1521 | 2444 | 2612 | 0.18 | 0.09 | 1.16 | 12.1 | 7.8 | 5.9 | 2.9 | 2 | 136 | 8 | Y | 1.1773 | 15.5583 | 3.5228 | 0.39557 | 0 | LOW
7 | Dhairya | 7 | 0.36166 | Toe off | 3058 | 1249 | 416 | 0.11 | -0.06 | 1.09 | 8.7 | 3.9 | 2.7 | -5.4 | 2.2 | 157 | 8 | Y | 1.0972 | 9.9091 | 5.831 | 0.080149 | 0 | LOW
7 | Dhairya | 8 | 0.36174 | Heel strike | 656 | 848 | 3625 | 0.31 | 0.17 | 1.21 | 25.9 | 12.2 | 15.2 | 4.2 | 3.3 | 126 | 8 | Y | 1.2606 | 32.4143 | 5.3413 | 0.16342 | 20 | LOW
8 | Sanjana | 1 | 0.38623 | Heel strike | 295 | 446 | 2563 | 0.07 | 0.04 | 1.02 | 4 | 0.9 | 1.8 | 3.3 | 1.1 | 212 | 8 | Y | 1.0232 | 4.4777 | 3.4785 | 0 | 0 | LOW
8 | Sanjana | 2 | 0.38633 | Foot flat | 931 | 1551 | 2064 | 0.05 | -0.02 | 0.96 | 1.7 | 0.4 | 1.2 | 1.5 | 0.8 | 217 | 7 | Y | 0.96151 | 2.119 | 1.7 | 0.061672 | 0 | LOW
8 | Sanjana | 3 | 0.3864 | Mid stance | 1659 | 1721 | 991 | 0.01 | 0.04 | 1.05 | 2.3 | -1.1 | 0.6 | 0.9 | 0.5 | 173 | 8 | Y | 1.0508 | 2.6192 | 1.0296 | 0.0893 | 0 | LOW
8 | Sanjana | 4 | 0.38649 | Toe off | 2548 | 1062 | 237 | -0.11 | 0.07 | 1.1 | 9.4 | 3.1 | 4.3 | -5.9 | 1.9 | 153 | 7 | Y | 1.1077 | 10.7917 | 6.1984 | 0.056891 | 0 | LOW
8 | Sanjana | 5 | 0.38656 | Swing | 99 | 53 | 43 | 0.06 | 0.01 | 0.98 | 14 | 5.3 | 6.7 | -10.8 | 2.4 | 167 | 7 | Y | 0.98189 | 16.4006 | 11.0635 | 0.12581 | 5 | LOW
8 | Sanjana | 6 | 0.38667 | Heel strike | 389 | 431 | 2868 | 0.11 | 0.05 | 1.04 | 5.3 | 1.1 | 1.6 | 3.4 | 1.1 | 225 | 7 | Y | 1.047 | 5.6445 | 3.5735 | 0.06511 | 0 | LOW
8 | Sanjana | 7 | 0.38672 | Foot flat | 960 | 1326 | 2396 | 0.01 | -0.03 | 1 | 2.1 | 0.4 | 1.1 | 1.2 | 0.7 | 237 | 8 | Y | 1.0005 | 2.4042 | 1.3892 | 0.046496 | 0 | LOW
8 | Sanjana | 8 | 0.38685 | Toe off | 3059 | 1044 | 253 | -0.1 | 0.07 | 1.09 | 10.2 | 3.1 | 3.1 | -6.4 | 2.1 | 215 | 6 | Y | 1.0968 | 11.1023 | 6.7357 | 0.096314 | 0 | LOW
9 | Aniket | 1 | 0.43529 | Seated | 186 | 150 | 259 | -0.01 | 0.01 | 1 | -0.3 | 0 | 0.2 | 13.8 | 2.7 | 44 | 0 | N | 1.0001 | 0.36056 | 14.0616 | 0 | 5 | LOW
9 | Aniket | 2 | 0.43546 | Seated | 172 | 130 | 240 | 0.01 | 0.03 | 0.99 | 0.6 | 0.2 | 0 | 10.8 | 3.3 | 49 | 0 | N | 0.9905 | 0.63246 | 11.2929 | 0.0095951 | 5 | LOW
9 | Aniket | 3 | 0.43571 | Seated | 214 | 133 | 308 | 0 | 0.03 | 1 | 1.2 | 0.1 | 0 | 13.9 | 3.1 | 49 | 0 | N | 1.0004 | 1.2042 | 14.2415 | 0.009945 | 5 | LOW
9 | Aniket | 4 | 0.43591 | Foot shift | 387 | 277 | 336 | 0.05 | 0.02 | 1.01 | 3.2 | 1.5 | 1.5 | 9.8 | 3.4 | 65 | 0 | N | 1.0114 | 3.8393 | 10.373 | 0.010985 | 5 | LOW
9 | Aniket | 5 | 0.4362 | Seated | 184 | 138 | 223 | 0 | 0.03 | 1.02 | 0.2 | -0.1 | -0.9 | 12.4 | 2.7 | 72 | 0 | N | 1.0204 | 0.92736 | 12.6905 | 0.0090065 | 5 | LOW
9 | Aniket | 6 | 0.43644 | Seated | 210 | 151 | 274 | 0 | -0.01 | 1 | 0.3 | 0.8 | 0.1 | 12.3 | 2.8 | 61 | 0 | N | 1 | 0.86023 | 12.6147 | 0.020391 | 5 | LOW
9 | Aniket | 7 | 0.43663 | Seated | 186 | 133 | 242 | 0.01 | 0.02 | 1.02 | 0.4 | -0.1 | -0.1 | 13.7 | 3.3 | 58 | 0 | N | 1.0202 | 0.42426 | 14.0918 | 0.020195 | 5 | LOW
9 | Aniket | 8 | 0.43688 | Seated | 216 | 124 | 283 | 0.01 | 0 | 1 | 0.3 | 1.2 | -0.4 | 13.2 | 2.9 | 50 | 0 | N | 1 | 1.3 | 13.5148 | 0.020195 | 5 | LOW
10 | Raghav Garg | 1 | 0.37777 | Heel strike | 276 | 460 | 2991 | 0.1 | 0.04 | 1.04 | 4.2 | 0.9 | 1.4 | 3.2 | 1.3 | 236 | 8 | Y | 1.0456 | 4.5177 | 3.454 | 0 | 0 | LOW
10 | Raghav Garg | 2 | 0.37787 | Foot flat | 1081 | 1690 | 2093 | 0.05 | -0.05 | 0.99 | 3.4 | 0.1 | 1.3 | 1.5 | 0.9 | 184 | 6 | Y | 0.99252 | 3.6414 | 1.7493 | 0.05304 | 0 | LOW
10 | Raghav Garg | 3 | 0.37793 | Mid stance | 1887 | 1763 | 1116 | 0.01 | 0.03 | 1.07 | 2.2 | -0.6 | 0.7 | 0.9 | 0.5 | 189 | 6 | Y | 1.0705 | 2.3854 | 1.0296 | 0.077945 | 0 | LOW
10 | Raghav Garg | 4 | 0.37806 | Toe off | 2619 | 1021 | 257 | -0.11 | 0.08 | 1.13 | 10.7 | 2.9 | 4 | -6.8 | 1.8 | 161 | 7 | Y | 1.1382 | 11.7856 | 7.0342 | 0.067689 | 0 | LOW
10 | Raghav Garg | 5 | 0.37814 | Swing | 81 | 59 | 41 | 0.05 | 0.02 | 0.97 | 16.3 | 5.2 | 5.4 | -9.2 | 2.7 | 176 | 7 | Y | 0.97149 | 17.9413 | 9.588 | 0.16666 | 5 | LOW
10 | Raghav Garg | 6 | 0.37822 | Heel strike | 319 | 406 | 3327 | 0.09 | 0.09 | 1.03 | 4 | 2.7 | 3.2 | 3.6 | 1.1 | 238 | 7 | Y | 1.0378 | 5.7905 | 3.7643 | 0.066341 | 0 | LOW
10 | Raghav Garg | 7 | 0.37828 | Foot flat | 1072 | 1376 | 2149 | 0.04 | -0.03 | 1 | 2.9 | 0.3 | 1 | 1.3 | 0.7 | 240 | 8 | Y | 1.0012 | 3.0822 | 1.4765 | 0.036585 | 0 | LOW
10 | Raghav Garg | 8 | 0.37839 | Toe off | 3133 | 979 | 225 | -0.1 | 0.07 | 1.09 | 9.8 | 3.8 | 3.9 | -6.5 | 2.2 | 209 | 7 | Y | 1.0968 | 11.2112 | 6.8622 | 0.095564 | 0 | LOW
11 | Kushal Thakur | 1 | 0.36103 | Heel strike | 605 | 749 | 3068 | 0.21 | 0.13 | 1.19 | 18.1 | 11.6 | 9 | 4.4 | 2.2 | 141 | 9 | Y | 1.2154 | 23.306 | 4.9193 | 0 | 8 | LOW
11 | Kushal Thakur | 2 | 0.3611 | Foot flat | 1654 | 2383 | 3177 | 0.15 | -0.07 | 1.13 | 12 | 8.2 | 5.8 | 3.1 | 1.7 | 129 | 8 | Y | 1.1421 | 15.6486 | 3.5355 | 0.0733 | 0 | LOW
11 | Kushal Thakur | 3 | 0.36119 | Turning | 3678 | 1502 | 395 | -0.35 | 0.18 | 1.32 | 33.6 | 19.4 | 28.7 | 5.7 | 8.2 | 106 | 8 | Y | 1.3774 | 48.2598 | 9.9865 | 0.23537 | 35 | LOW
11 | Kushal Thakur | 4 | 0.36123 | Swing | 151 | 96 | 64 | 0.27 | 0.25 | 1.08 | 23.2 | 8.1 | 13.7 | -7.1 | 3 | 169 | 8 | Y | 1.141 | 28.1343 | 7.7078 | 0.23646 | 8 | LOW
11 | Kushal Thakur | 5 | 0.36133 | Turning | 708 | 769 | 3750 | 0.62 | 0.33 | 1.4 | 36.4 | 19.8 | 30.4 | 5.8 | 9.3 | 108 | 9 | Y | 1.5663 | 51.3922 | 10.9604 | 0.42534 | 65 | MODERATE
11 | Kushal Thakur | 6 | 0.36139 | Foot flat | 1536 | 2314 | 2979 | 0.16 | 0.09 | 1.13 | 10.3 | 8 | 5.9 | 2.8 | 1.8 | 129 | 8 | Y | 1.1448 | 14.3143 | 3.3287 | 0.42149 | 15 | LOW
11 | Kushal Thakur | 7 | 0.36142 | Toe off | 3334 | 1154 | 379 | 0.14 | -0.06 | 1.1 | 9.2 | 4.5 | 3.2 | -5.6 | 2 | 153 | 7 | Y | 1.1105 | 10.7299 | 5.9464 | 0.034319 | 0 | LOW
11 | Kushal Thakur | 8 | 0.36149 | Heel strike | 662 | 860 | 3254 | 0.32 | 0.18 | 1.24 | 24.6 | 11 | 15.4 | 4.5 | 2.9 | 140 | 9 | Y | 1.2932 | 31.0374 | 5.3535 | 0.18272 | 20 | LOW
12 | Manjot Singh | 1 | 0.43722 | Standing | 999 | 909 | 1875 | 0.01 | 0.02 | 1.02 | -0.1 | 0.3 | 0 | 0.8 | 0.4 | 307 | 3 | N | 1.0202 | 0.31623 | 0.89443 | 0 | 0 | LOW
12 | Manjot Singh | 2 | 0.43737 | Standing | 1186 | 927 | 1556 | 0.03 | 0.01 | 1.01 | 1 | -0.1 | 1.4 | 1.2 | 0.6 | 316 | 3 | N | 1.0105 | 1.7234 | 1.3416 | 0.0097501 | 0 | LOW
12 | Manjot Singh | 3 | 0.4375 | Standing | 1154 | 816 | 1720 | 0.02 | 0.03 | 1.01 | 0 | 0.6 | 0.4 | 0.7 | 0.3 | 326 | 3 | N | 1.0106 | 0.72111 | 0.76158 | 0.00014843 | 0 | LOW
12 | Manjot Singh | 4 | 0.43766 | Weight shift | 1411 | 932 | 1459 | 0.04 | 0.02 | 1 | 2.2 | 0.8 | 0.5 | 1.8 | 0.8 | 319 | 3 | N | 1.001 | 2.3937 | 1.9698 | 0.0096439 | 0 | LOW
12 | Manjot Singh | 5 | 0.4378 | Standing | 1286 | 876 | 1621 | 0 | 0.03 | 1 | 0.6 | 0.1 | 0.2 | 1 | 0.4 | 292 | 3 | N | 1.0004 | 0.64031 | 1.077 | 0.0005496 | 0 | LOW
12 | Manjot Singh | 6 | 0.43788 | Weight shift | 1351 | 1031 | 1322 | 0.06 | 0.05 | 0.99 | 1.5 | 1 | 1.5 | 1.9 | 1.1 | 291 | 3 | N | 0.99308 | 2.3452 | 2.1954 | 0.0073739 | 0 | LOW
12 | Manjot Singh | 7 | 0.43806 | Standing | 1106 | 939 | 1577 | 0.02 | -0.02 | 1.01 | -0.5 | -0.1 | -0.1 | 0.8 | 0.5 | 323 | 3 | N | 1.0104 | 0.51962 | 0.9434 | 0.01732 | 0 | LOW
12 | Manjot Singh | 8 | 0.43816 | Standing | 1253 | 996 | 1713 | 0 | 0.03 | 1.01 | 0.3 | 0.5 | 0.6 | 1.1 | 0.4 | 348 | 3 | N | 1.0104 | 0.83666 | 1.1705 | 4.9484e-05 | 0 | LOW
13 | Tejnoor Singh | 1 | 0.36895 | Heel strike | 286 | 413 | 2558 | 0.09 | 0.03 | 1.03 | 3.9 | 0.7 | 2.2 | 2.8 | 1.1 | 227 | 8 | Y | 1.0344 | 4.5321 | 3.0083 | 0 | 0 | LOW
13 | Tejnoor Singh | 2 | 0.36902 | Foot flat | 1053 | 1641 | 2026 | 0.05 | -0.04 | 0.97 | 2 | 0.6 | 1.3 | 1.4 | 0.9 | 214 | 6 | Y | 0.97211 | 2.4597 | 1.6643 | 0.062249 | 0 | LOW
13 | Tejnoor Singh | 3 | 0.3691 | Mid stance | 1558 | 1814 | 1027 | 0.02 | 0.05 | 1.06 | 2.2 | -0.6 | 1.5 | 0.8 | 0.5 | 165 | 6 | Y | 1.0614 | 2.7295 | 0.9434 | 0.089256 | 0 | LOW
13 | Tejnoor Singh | 4 | 0.36921 | Toe off | 2501 | 972 | 252 | -0.12 | 0.1 | 1.11 | 9.6 | 3.7 | 4.3 | -6.7 | 1.9 | 181 | 7 | Y | 1.1209 | 11.1508 | 6.9642 | 0.05957 | 0 | LOW
13 | Tejnoor Singh | 5 | 0.36931 | Swing | 89 | 61 | 36 | 0.02 | 0.03 | 0.97 | 13.3 | 5.2 | 6.5 | -10.7 | 2.3 | 167 | 7 | Y | 0.97067 | 15.6901 | 10.9444 | 0.15027 | 5 | LOW
13 | Tejnoor Singh | 6 | 0.3694 | Heel strike | 382 | 440 | 2854 | 0.11 | 0.05 | 1.05 | 4.8 | 2.7 | 3.1 | 3.1 | 1.1 | 263 | 7 | Y | 1.0569 | 6.3198 | 3.2894 | 0.08626 | 0 | LOW
13 | Tejnoor Singh | 7 | 0.36946 | Foot flat | 1041 | 1498 | 2118 | 0.02 | -0.01 | 1.01 | 2.1 | 0.8 | 0.6 | 1.1 | 0.7 | 230 | 6 | Y | 1.0102 | 2.3259 | 1.3038 | 0.046682 | 0 | LOW
13 | Tejnoor Singh | 8 | 0.36958 | Toe off | 2642 | 928 | 219 | -0.13 | 0.05 | 1.08 | 10.5 | 3.3 | 4.5 | -6.3 | 2 | 222 | 7 | Y | 1.0889 | 11.8908 | 6.6098 | 0.078697 | 0 | LOW
14 | Ramit Joshi | 1 | 0.4531 | Seated | 218 | 140 | 264 | -0.01 | 0.02 | 1.01 | 0.6 | 0 | 0.1 | 12.7 | 3.1 | 52 | 0 | N | 1.0102 | 0.60828 | 13.0729 | 0 | 5 | LOW
14 | Ramit Joshi | 2 | 0.45326 | Seated | 212 | 110 | 243 | 0.01 | 0 | 1.01 | 0.1 | 0.2 | 0.5 | 10.7 | 3.6 | 48 | 0 | N | 1.01 | 0.54772 | 11.2894 | 0.00019799 | 5 | LOW
14 | Ramit Joshi | 3 | 0.45353 | Seated | 230 | 158 | 300 | -0.01 | 0.03 | 1.01 | 0.4 | -0.1 | -0.4 | 11.1 | 2.6 | 51 | 0 | N | 1.0105 | 0.57446 | 11.4004 | 0.00044542 | 5 | LOW
14 | Ramit Joshi | 4 | 0.45373 | Foot shift | 465 | 246 | 294 | 0.04 | 0.04 | 1.01 | 3.1 | 1.1 | 1.2 | 10.1 | 3.6 | 64 | 0 | N | 1.0116 | 3.5014 | 10.7224 | 0.001088 | 5 | LOW
14 | Ramit Joshi | 5 | 0.454 | Seated | 222 | 145 | 257 | 0.01 | 0 | 0.98 | -0.1 | -0.1 | 0.4 | 11.4 | 2.8 | 78 | 0 | N | 0.98005 | 0.42426 | 11.7388 | 0.031532 | 5 | LOW
14 | Ramit Joshi | 6 | 0.45425 | Seated | 211 | 157 | 267 | 0.01 | 0 | 1.01 | 0.5 | 0.1 | 0.2 | 13.1 | 3.3 | 63 | 0 | N | 1.01 | 0.54772 | 13.5093 | 0.029998 | 5 | LOW
14 | Ramit Joshi | 7 | 0.45447 | Seated | 225 | 114 | 262 | -0.01 | 0 | 1 | 0.5 | 0.4 | 0.5 | 11.4 | 3.4 | 58 | 0 | N | 1 | 0.8124 | 11.8962 | 0.0099995 | 5 | LOW
14 | Ramit Joshi | 8 | 0.45469 | Seated | 233 | 122 | 255 | 0.01 | 0 | 0.99 | -0.2 | -0.4 | -0.4 | 11.7 | 3.5 | 53 | 0 | N | 0.99005 | 0.6 | 12.2123 | 0.0099995 | 5 | LOW
15 | Kirtan Borana | 1 | 0.39802 | Heel strike | 343 | 465 | 3023 | 0.05 | 0.04 | 1.05 | 3.8 | 1.5 | 1.6 | 3.3 | 1.3 | 195 | 7 | Y | 1.052 | 4.3875 | 3.5468 | 0 | 0 | LOW
15 | Kirtan Borana | 2 | 0.39813 | Foot flat | 929 | 1481 | 2405 | 0.05 | -0.04 | 0.98 | 2.6 | 0.7 | 1.4 | 1.5 | 0.8 | 181 | 6 | Y | 0.98209 | 3.0348 | 1.7 | 0.069861 | 0 | LOW
15 | Kirtan Borana | 3 | 0.39821 | Mid stance | 1690 | 1938 | 1196 | 0.01 | 0.06 | 1.05 | 1.8 | -0.6 | 0.8 | 0.9 | 0.5 | 186 | 7 | Y | 1.0518 | 2.0591 | 1.0296 | 0.069671 | 0 | LOW
15 | Kirtan Borana | 4 | 0.3983 | Toe off | 2933 | 1084 | 287 | -0.13 | 0.08 | 1.12 | 9.6 | 3.1 | 4.5 | -5.6 | 1.8 | 166 | 8 | Y | 1.1304 | 11.0463 | 5.8822 | 0.078593 | 0 | LOW
15 | Kirtan Borana | 5 | 0.39838 | Swing | 82 | 57 | 36 | 0.02 | 0.03 | 0.97 | 14.1 | 4.5 | 6.1 | -10.8 | 2.5 | 144 | 8 | Y | 0.97067 | 16.0084 | 11.0856 | 0.15968 | 5 | LOW
15 | Kirtan Borana | 6 | 0.3985 | Heel strike | 368 | 481 | 3177 | 0.12 | 0.05 | 1.03 | 5.9 | 2.3 | 3 | 3.1 | 1 | 213 | 7 | Y | 1.0382 | 7.0071 | 3.2573 | 0.067502 | 0 | LOW
15 | Kirtan Borana | 7 | 0.39855 | Foot flat | 1085 | 1356 | 2021 | 0.05 | -0.03 | 0.99 | 2.8 | 0.6 | 1.4 | 1.2 | 0.8 | 243 | 8 | Y | 0.99172 | 3.1875 | 1.4422 | 0.046456 | 0 | LOW
15 | Kirtan Borana | 8 | 0.39869 | Toe off | 2478 | 1044 | 242 | -0.1 | 0.04 | 1.1 | 10.4 | 3.1 | 3.8 | -5.8 | 2.1 | 186 | 6 | Y | 1.1053 | 11.4983 | 6.1685 | 0.11354 | 0 | LOW

## Summary
Summary - one line per person
# | Name | Height (cm) | Weight (kg) | BMI | Readings logged | Peak risk score | Mean risk score | Highest level | Closest obstacle (cm) | Peak accel (g) | Peak gyro (deg/s)
1 | Vidula Nijhawan | 160 | 52 | 20.3125 | 8 | 5 | 1 | LOW | 177 | 1.1183 | 15.5547
2 | Rishika Gupta | 163 | 55 | 20.7008 | 8 | 65 | 20 | MODERATE | 93 | 1.5684 | 58.8082
3 | Vishav Gupta | 174 | 68 | 22.46 | 8 | 5 | 1 | LOW | 169 | 1.1198 | 18.2365
4 | Vedant Singh | 178 | 72 | 22.7244 | 8 | 0 | 0 | LOW | 288 | 1.0204 | 3.1448
5 | Daksh Jain | 172 | 64 | 21.6333 | 8 | 100 | 29 | HIGH | 39 | 2.9825 | 130.7164
6 | Sudeep | 176 | 70 | 22.5981 | 8 | 5 | 1 | LOW | 168 | 1.149 | 16.5303
7 | Dhairya | 170 | 62 | 21.4533 | 8 | 65 | 17 | MODERATE | 88 | 1.5729 | 53.8165
8 | Sanjana | 158 | 50 | 20.0288 | 8 | 5 | 1 | LOW | 153 | 1.1077 | 16.4006
9 | Aniket | 180 | 76 | 23.4568 | 8 | 5 | 5 | LOW | 44 | 1.0204 | 3.8393
10 | Raghav Garg | 175 | 78 | 25.4694 | 8 | 5 | 1 | LOW | 161 | 1.1382 | 17.9413
11 | Kushal Thakur | 183 | 82 | 24.4857 | 8 | 65 | 19 | MODERATE | 106 | 1.5663 | 51.3922
12 | Manjot Singh | 177 | 67 | 21.3859 | 8 | 0 | 0 | LOW | 291 | 1.0202 | 2.3937
13 | Tejnoor Singh | 173 | 60 | 20.0474 | 8 | 5 | 1 | LOW | 165 | 1.1209 | 15.6901
14 | Ramit Joshi | 169 | 58 | 20.3074 | 8 | 5 | 5 | LOW | 48 | 1.0116 | 3.5014
15 | Kirtan Borana | 171 | 74 | 25.3069 | 8 | 5 | 1 | LOW | 144 | 1.1304 | 16.0084
| People with readings |  |  |  | 15
| People rated HIGH |  |  |  | 1
| People rated MODERATE |  |  |  | 3
| People rated LOW |  |  |  | 11

## Reference
Reference - thresholds and units
Setting | Threshold (at or above) | Points added | Unit / note
Risk LOW up to score | 39 |  | score 0-39 = LOW
Risk HIGH from score | 70 |  | score 70-100 = HIGH; 40-69 = MODERATE
Acceleration, normal limit | 1.3 | 10 | g, magnitude of x, y, z
Acceleration, elevated | 1.5 | 25 | g (replaces the 10 points)
Acceleration, high | 2.5 | 40 | g (replaces the 25 points)
Angular velocity, normal limit | 20 | 8 | deg/s, magnitude of x, y, z
Angular velocity, elevated | 30 | 20 | deg/s (replaces the 8 points)
Angular velocity, high | 80 | 40 | deg/s (replaces the 20 points)
Sudden acceleration change | 0.4 | 15 | g, change from the previous reading of the same person
Tilt, elevated | 8 | 5 | deg, sqrt(pitch^2 + roll^2)
Tilt, high | 15 | 10 | deg (replaces the 5 points)
Score = acceleration points + angular-velocity points + sudden-change points + tilt points, capped at 100. Source: fall-risk.js, function fallRiskEngine.
Reading | Unit | Sensor | Range / note
FSR forefoot / midfoot / hindfoot | raw ADC 0-4095 | FSR pressure sensor | uncalibrated count, not newtons
Acceleration x, y, z | g | MPU6050 IMU | about 1.0 g on z when standing still
Angular velocity x, y, z | deg/s | MPU6050 IMU
Pitch, roll | deg | MPU6050 IMU | orientation of the foot
Obstacle distance | cm | HC-SR04 ultrasonic (toe) | typical sensor range 2-400 cm
GPS satellites, fix | count, Y/N | NEO-6M GPS | location needs a fix